## Slide 1
Differential, Instrumentation & Bridge
Amplifiers
YR3-BE3-HBINST
Dept. of Bioengineering
E.M.Drakakis

## Slide 2
BASIC DIFFERENTIAL AMPLIFIER (SUBTRACTOR CIRCUIT)
Vo= mE1 –mE2 = m (E1-E2)
Notes: Interest of using amplifiers:

## Slide 3
Output = m x (DIFFERENCE of Inputs)
m is termed “differential gain” & depends on resistor ratios
Vo= mE1 –mE2 = m (E1-E2)

## Slide 4: Subtractor’s Basic Relation (Derivation- Fill in)

## Slide 5: Common Mode Rejection (Ratio)
What is the value of the subtractor circuit output voltage when both inputs have a common value?

## Slide 6
BOTTOMLINE
Vout = Ad . (E1-E2) + Ac . [ (E1+E2)/2 ]
Ad: Differential Gain
Ac: Common-mode Gain
E1-E2: Differential Input
(E1+E2)/2: Common Mode Input
We want the amplifier to:
AMPLIFY THE DIFFERENCE of the two input signals
REJECT THEIR COMMON-MODE SIGNAL
have HIGH Ad
have LOW Ac
have high CMRR= 20 log (Ad/Ac)
Notes: Common Mode Rejection Ratio = CMRR

## Slide 7
Problem!
What about Resistor Mismatch?
How well should the resistors be
matched so that CMRR becomes very high?

## Slide 8: EFFECT OF RESISTOR MISMATCH ON THE SUBTRACTOR CIRCUIT OPERATION (Derivation-Fill In)

## Slide 9
Single-input vs. Differential-input
Measurement
Notes: Noise due to parasitic voltage due to spatial separation of inputs

## Slide 10
Problem!
We need increased Rin
We need adjustable G(ain)

## Slide 11: Solution
Introduction of buffers
Notes: By introducing buffers(voltage folloewrs) we are increasing the input impedance

## Slide 12: Adjustable Gain (Derivation- Fill in)

## Slide 13
BASIC INSTRUMENTATION AMPLIFIER (IA)
Buffered Diff.Input-to-Diff.output
With Adjustable Gain Block
Subtractor Block

## Slide 14: Basic Calculations for IA (Fill in)

## Slide 15: Referencing the Output Voltage
Notes: Vref raises signal do a desired DC level

## Slide 16: Measuring with the IA
“Small” differential
Signals (of interest)
“Large” common-mode
signals
Amplified Diff. Input;
“common-mode” signal
has been rejected

## Slide 17: IA-based measurement example: differential voltage measurement

## Slide 18: IA-based Differential V-to-I converter

## Slide 19: The IA as a signal conditioning circuit: strain gage measurements
GF= [(ΔR/R) / (ΔL/L)] (Ω/m)
LECTURE FINISHED HERE
Notes: LECTURE FINISHED HERE

## Slide 20: Basic Resistance Bridge

## Slide 21: Balancing a Resistance Bridge

## Slide 22: Sensitivity of Resistor Bridges

## Slide 23: Bridge Measurements with IA